Research:  UPS for GPU and Our Laptops

Step 01 : Power consumption (average usage)

🧠 Desktop (CPU + Monitor)

- CPU (office / dev work): 200–300 W

- Monitor (22–24” LED): 25–40 W

Total desktop setup:  225–340 W per system

💻 Laptop

- Laptop while charging & working: 60–90 W

Total per laptop: 70–90 W

Step 2: Convert Watts → VA (UPS sizing)

Most small UPS units have a power factor ~0.6–0.8

On Average Power Consumption of 450 W including all Device

- 450 W ÷ 0.6 ≈ 750 VA

Step 3: UPS size recommendation

Using the safe side (0.6):

- 400 W ÷ 0.6 ≈ 670 VA

- 500 W ÷ 0.6 ≈ 835 VA

So electrically: 900 VA minimum

Final answer (clear & direct)

✅ UPS capacity: 1.5 kVA
✅ Backup: 30 minutes comfortably at 400–500 W

Online Link of the Product:

s
Artis Line Interactive UPS for PC, Desktops and etc: Artis UPS 1500 VA

- Amount: 7999 INR

- UPS capacity 1500 VA

- Backup: 30 minutes comfortably at 400–500 W

APC Back UPS for PC, Desktops and etc: APC UPS 1.1 KVA

- Amount :: 7599 INR

- UPS capacity: 1100 VA

- Backup: 30 minutes comfortably at 400–500 W